**DRINKING WATER MICROBIAL SAMPLE COLLECTION**

 **& LABORATORY REPORTING FORMAT**

 (62.550.730 Reporting Format Effective 01/1995. Revised 02/2010

|  |  |
| --- | --- |
|  **4705 Old Rd. 37 – Suite 110** **Cert# E84925 Lakeland, Fl 33813** | Lab Receipt Date & Time: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Analysis Date & Time: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**Sample Acceptance Criteria:** Sample Preservation: 🞏 On Ice 🞏 Not on Ice 🞏 \_\_\_\_ ºCDisinfectant Check: 🞏 Not Detected 🞏 \_\_\_\_\_\_\_\_\_\_\_\_\_\_ mg/LThis sample does not meet the following NELAC requirements: |
| **Report Number:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_ **Sub-Contract Lab ID**: \_\_\_\_\_\_\_\_\_\_**Analysis Requested:** (check all that apply)🞏 Total Coliform/E-Coli 🞏 Total Coliform/Fecal 🞏 Enterococci**Public Water System (PWS) Name**:PWS Address:PWS or PWS Owner’s Phone:Collector:**Type of Supply**: (check only one)🞏 Community Water System 🞏 Non-Transient Non-community Water System🞏 Limited Use System 🞏 Bottled Water 🞏 Private Well 🞏 Swimming Pool**Reason for Sampling:** (check all that apply)🞏 Distribution Routine 🞏 Distribution Repeat 🞏 Raw (triggered or assessment🞏 Clearance 🞏 Replacement (also check type of sample being replaced **Sample Collection Date:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |  🞏 Coliphage 🞏 HPC 🞏 Other: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**PWS ID**:City:Fax #:Collector’s Phone #: 🞏 Transient Non-community Water System 🞏 Other: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ 🞏 Raw (triggered or assessment) additional 🞏 Well Survey 🞏 Boil Water Notice 🞏 Other: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |

|  |  |  |
| --- | --- | --- |
| **TO BE COMPLETED BY COLLECTOR OF SAMPLE** |   | **TO BE COMPLETED BY LAB** |
|   |   |   |   |   |   |   | Analysis Method (s)²: |   |   |
| Sample | Sample Point | Sample | Sample | Disinfectant |   |   | **SM9223B - COLILERT 18** |
| # | (Location or Specific Address) | Collection | Type¹ | Residual | pH |   | Non- | Total | Fecal, E-Coli | Data | Lab |
|   |  | Time |  | (mg/L) |   |   | Coliform | Coliform | Enterococci, or | Qualifier⁴ | Sample # |
|   |   |   |   |   |   |   |   |   | Coliphage³ |   |   |
|   |   |   |   |   |   |   |   |   |   |   |   |
|   |   |   |   |   |   |   |   |   |   |   |   |
|   |   |   |   |   |   |   |   |   |   |   |   |
|   |   |   |   |   |   |   |   |   |   |   |   |
|   |   |   |   |   |   |   |   |   |   |   |   |
| **Average of disinfectant residuals for distribution routine & repeat** |   |  |
| samples ⁵. Free chlorine or Total chlorine (circle one) | Unless otherwise noted, all tests are performed in accordance with |
| **Disinfectant Residual Analysis Method:** |  |  |   | NELAC standards, and the results relate only to the samples. |
|  🞏 DPD Colorimetric 🞏 Other: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |  |
| **Person performing disinfectant analysis is (see instructions on reverse):**  | Date and Time PWS notified by lab of positive results: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
|  🞏 A certified operator (# \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_)  | Date and Time DEP/DOH notified by lab of positive results: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
|  🞏 Supervised by certified operator (# \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_) | Date Report Issued: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
|  🞏 Employed by a certified lab 🞏 Employed by DEP or DOH | **Lab Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_** |
|  🞏 Authorized representative of supplier of water | **Title: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_** |

|  |  |  |
| --- | --- | --- |
|  |  | **DEP/DOH USE ONLY** |
| 🞏 Satisfactory | 🞏 Incomplete Collection Information |
| 🞏 Repeat Samples Required | 🞏 Replacement Samples Required |
| Date Reviewed by DEP/DOH: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| DEP/DOH Reviewing Official: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |

**DRINKING WATER MICROBIAL SAMPLE COLLECTION**

**& LABORATORY REPORTING FORMAT**

### INSTRUCTIONS

The attached is an example of the reporting format specified in Rule 62-550.730, Florida Administrative Code (F.A.C.). This format is to be used by laboratories for reporting drinking water analyses to the appropriate Department of Environmental Protection (DEP) or Department of Health (DOH) office. For analysis results to be acceptable for compliance with Chapter 62-550, F.A.C., laboratories performing the analyses must be certified to perform drinking water analyses by the DOH and must report results in accordance with Chapter 62-160, F.A.C. Computer-generated or otherwise personalized reports will be accepted as long as they conform to this format.

# **Fields to be completed by the sample collector:**

1. Analysis Requested Check the box next to the type of test being requested.
2. Public Water System (PWS) Provide the full name of the public water system.
3. PWS I.D. Provide the 7-digit DEP PWS ID number.
4. PWS Address Indicate the PWS’s mailing address.
5. City Indicate the city in which the PWS is located (if not in a city, indicate county).
6. PWS or Owner’s Phone # Provide the PWS or PWS owner’s phone number in case there are positive results.
7. PWS or PWS Owner’s Fax # Provide the PWS or PWS owner’s fax number.
8. Collector Provide the sample collector’s first and last name.
9. Collector’s Phone # Provide the sample collector’s phone number.
10. Type of Supply Check the box next to the type of PWS or source being tested.
11. Reason for Sampling Check the box next to the reason the samples are being collected.
12. Sample Collection Date Provide the date the samples are collected. If samples are collected on more than one day, provide the collection date for each sample.
13. Sample # Provide a unique number for each sample.
14. Sample Point Provide the specific street address (or equivalent) for each sample collected.
15. Sample Collection Time Provide the time of collection for each sample collected.
16. Sample Type Indicate the sample type for each sample collected. Sample type codes are: D = Distribution (routine compliance), C = Repeat/Check, R = Raw, N = Entry Point to Distribution, P = Plant Tap, S = Special (clearance, etc.).
17. Disinfectant Residual Indicate the disinfectant residual in mg/L (Chlorine, Chloramines, Chlorine Dioxide, etc.).
18. pH Not required for drinking water samples.
19. Average of Disinfectant Residuals Indicate the average of the disinfectant residuals for type “D” and “C” samples at community and non-transient non-community public water systems.
20. Disinfectant Residual Analysis Method Indicate the method used to determine disinfectant residual(s).
21. Person performing disinfectant analysis Indicate the qualifying status of the person performing disinfectant analyses. This only applies to disinfectant analyses for type “D” and “C” samples at community and non-transient non-community public water systems.
22. Name and Mailing Address of Person to

Receive Report Provide the name and mailing address of the PWS owner or representative who will receive the report.

# **Fields to be completed by the laboratory:**

1. Lab Name, Address, & Certification Number This information may be stamped or permanently added to the format.
2. Lab Receipt Date & Time Indicate the date and time samples were received in the lab.
3. Analysis Date & Time Indicate the date and time of analysis.
4. Sample Preservation Indicate whether or not the samples were on ice and the temperature of the samples.
5. Disinfectant Check Indicate whether or not a disinfectant was detected and at what level. Circle free or total.
6. Analysis Method(s) Indicate analysis methodology and method citation used (e.g. “Colilert, SM9223B”). The laboratory must be certified by DOH for the method indicated for the results to be accepted.
7. Non-Coliform Indicate the presence or absence of non-coliform bacteria. \*
8. Total Coliform Indicate the presence or absence of total coliform bacteria.\*
9. Fecal Coliform Indicate the presence or absence of fecal coliform bacteria.\*
10. *E. coli* Indicate the presence or absence of *E. coli* bacteria.\*
11. Enterococci Indicate the presence or absence of enterococci bacteria.\*
12. Coliphage Indicate the presence or absence of coliphage. \*
13. Data Qualifier Provide a data qualifier if necessary. (See F.A.C. Rule 62-160.)
14. Lab Sample # Provide a unique number for each sample.
15. Date and time PWS notified by lab of positive

 results In the event of positive results, indicate the date and time the lab notified the PWS.

1. Date and time DEP/DOH notified by lab of

positive results In the event of fecal coliform, E. coli, enterococci, or coliphage positive results, indicate the date and time the lab notified the appropriate DEP or DOH Office.

1. Lab Signature Signature of lab director or other authorized representative of the lab.
2. Title Provide the title of the lab representative signing the report.

\* A = Bacteria/Coliphage Absent, P = Bacteria/Coliphage Present, C = Confluent Growth, TNTC = Too Numerous To Count